# 💧 How to Choose the Right Air Tank for Your Pressure Pump

By Buffalo Farm Equipment

## Why an Air Tank Matters

An air tank makes your pump system work properly.

It:

- Stops the pump starting every time you open a tap

- Gives smoother pressure

- Makes your pump last a lot longer

👉 No tank = pump starts and stops constantly = short pump life

## What Type of System Do You Have?

### Pressure controller (e.g. Davey Torrium)

- Doesn’t need a tank

- But a small tank helps stop nuisance cycling

👉 Use: 8–24L tank

### Pressure switch system

- Must have a tank

- Tank size is important

## How Big Should the Tank Be?

### Simple rule:

- Small jobs → 24–40L

- House → 60–100L

- Bigger systems → 100L+

### Better rule:

V = Q \times t

You want the pump to run for at least 1 minute per cycle

👉 Example:
60 L/min pump = you need ~150–200L tank

(You only get about 30–40% usable water from a tank)

## Common Mistakes

- Tank too small → pump burns out

- No tank on pressure switch → big problems

- Wrong air pressure

👉 Set tank pressure just below cut-in pressure

## My Advice

Go bigger than you think you need

Tanks are cheaper than pumps.